Hover mouse over selections for additional description. "Required" section must be filled out for quotation. Please complete the following information and submit to the appropriate WTU Quotation Specialist:

|  |
| --- |
| **Required** |
| *General* | End Location:  |   |
| Shipping Location: |   |
| Quantity: |   |
| Design Standard: | Choose an item. |
| Phase: | Three |
| Transformer Type: | Choose an item. |
| kVA Rating: | Choose an item. |
| Frequency: | Choose an item. |
| Application: | Choose an item. |
| Labeling: | [ ] N/A [ ]  UL/CUL Listed [ ]  FM Compliant  |
| *High Voltage* | High Voltage: | [ ]  Single Choose an item. | [ ]  Dual Choose an item. x Choose an item. |
| HV Connection: | [ ]  Single Choose an item. | [ ]  Dual Choose an item. x Choose an item. |
| HV BIL: | Choose an item. |
| Winding Conductor: | Choose an item. |
| HV Terminations: | Choose an item. |
| Feed: | Choose an item. |
| Taps: | Choose an item. |
| *Low Voltage* | Low Voltage: | Choose an item. |
| LV Connection: | Choose an item. |
| LV BIL: | Choose an item. |
| Winding Conductor: | Choose an item. |
| LV Terminations: | Choose an item. |
| **Detailed Information** |
| *General* | Loss Limits: | [ ]  N/A  | [ ]  Required | NL:  | LL:  | IZ:  |
| Evaluation $ Factors: | [ ]  N/A | [ ]  CAD [ ]  USD | NL: $  | LL: $  |  |
| Efficiency: | Choose an item. |
| Color: | Choose an item. |
| Stainless Steel: | ☐ Nameplate | ☐ Hardware | Tank: ☐ all ☐ bottom | Cabinet: ☐ all ☐ bottom |
| *Cooling* | Ref. Temp: | Choose an item. |
| Temp. Rise: | Choose an item. |
| Insulating Oil: | Choose an item. |
| Cooling Class: | Choose an item. |
| Cooling Material: | Choose an item. |
|  |  |  |
|  |  |  |
|  |  |  |
| **Detailed Information Cont.** |
| *Cabinet* | Depth: | Choose an item. |
| Roof: | Choose an item. |
| Security: | Choose an item. |
| Steel HV-LV Barrier: | Choose an item. |
| Fiberglass Barrriers: | [ ]  N/A | [ ]  HV Top | [ ]  HV Front | [ ]  Inter-Phase | [ ]  HV/LV | [ ]  LV Front | [ ]  Side |
| *Bushings/Tank* | Tank Cover: | [ ]  Bolted  |
|  | [ ]  Welded | [ ]  w/ Handhole Choose an item. | Qty = Choose an item. |
| Bushing Layout: | Choose an item. |  |
| LV Terminations: | Choose an item. | [ ]  Spades: Choose an item. |
| H0X0 Connection: | Choose an item. |
| *Accessories* | Fusing: | Choose an item. | ☐ w/ Current Limiting Fuse |
| Beakers: | [ ]  Required | Location: Choose an item. | Type: Choose an item. |
| Arresters: | [ ]  Required | Type: Choose an item. | Rating: Choose an item.  |
| Metering: | [ ]  Required | Type: Choose an item. | Details: Choose an item. |
| Gauges: | [ ]  Liquid Level Sight Gauge (Standard) |  |
|  | [ ]  Liquid Level Gauge | [ ]  w/ Alarm Contacts |
|  | [ ]  Liquid Temperature Gauge | ☐ w/ Alarm Contacts |
|  | [ ]  Pressure Vacuum Gauge | ☐ w/ Alarm Contacts |
|  | [ ]  Winding Temperature Gauge | ☐ w/ Alarm Contacts |
| Switches: | [ ]  Delta/Wye Switch |  |
|  | [ ]  Dual Voltage Switch |  |
|  | [ ]  Load Break Switch: Choose an item. |
| Misc.:  | [ ]  Pressure Relief Valve (Standard) |  |
|  | [ ]  Cover-Mounted Pressure Relief Device | ☐ w/ Alarm Contacts |
|  | [ ]  Drain Plug (Standard) | ☐ w/ Sampler |
|  | [ ]  Drain Valve | ☐ w/ Sampler |
|  | [ ]  Rapid Rise Relay |  |
|  | [ ]  Fill Valve |  |
|  | [ ]  Gas Test Valve |  |
|  | [ ]  Ground Lugs |  |
| **Additional Information** |
|  |